精密花岗石方箱---granite square blocks （box )

Granite Blocks

- brand "Hua’An”；

- high precision and stability;

- made of natural black granite ;

- no rust and moving easily without feeling resistance.

Blocks--Product Specialty

- Made of high quality Natural Black Granite

- High precision and high stability.

- No rust and anticorrosion.

- Non magnetization.

- Good abrasion resistance.

Physical Property of Natural Black Granite

- Specific Gravity:         3.03 g/cm3

- Shore Hardness:          > 70Hs-80Hs

- Tensile strength:          211Kg/cm2

- Compressive Strength:         245-254Mpa

- Linear Expansion Coefficient: 4.61´10--6/°C

- Elastic Modulus:                 30-50Gpa

- Water Absorptivity:           ≤0.13%

Blocks--Product Application

Mainly used as installation and inspection of machine tools, inspect Vertical degree, parallelism and straightness of guides and precision component in modern industry and scientific research institutes.

We are able to manufacture the Block with the good and stable accuracy.

Blocks Specifications :

| TYPE | precision grade | overall dimension (mm) | weight/unit (kg) |
| --- | --- | --- | --- |
| SX200 | 1 | 200X200X200 | 22 |
| SX250 | 1 | 250X250X250 | 45 |
| SX300 | 1 | 300X300X300 | 81 |
| SX400 | 1 | 400X400X400 | 192 |